RST® connection cable IP66/68(3 m; 2 h)/69, female, free end, 3x 2.5 mm², 250 V, 16 A, Eca, length: 2 m, black

System RST® MINI - assembled H05VV-F connection cable IP66/68(3 m; 2 h)/69, 3-pole, 2.5 mm², fire class Eca, with locking, female RST16i3, free end (ultrasonic welded), according to IEC 61535, mechanical coding light gray/black, color coding black.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H05VV-F

Fire class: Eca

Cable color: black

Halogen-free: no

Length: 2 m

Brand: Wieland Electric GmbH

Type: RST16I3K1B 25P 20SW

Part No.: 46.433.2003.1