RST® extension cable IP66/68(3 m; 2 h)/69, female, male, 3x 2.5 mm², 250 V, 16 A, length: 1 m, light blue

System RST® MINI - assembled H07RN-F extension cable IP66/68(3 m; 2 h)/69, 3-pole, 2.5 mm², with locking, male RST16i3, female RST16i3, according to IEC 61535, mechanical/color coding light blue.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H07RN-F

Cable color: black

Halogen-free: no

Length: 1 m

Brand: Wieland Electric GmbH

Type: RST16I3K1BS 25G 10BL07

Part No.: 46.433.1030.9