RST® connection cable IP66/68(3 m; 2 h)/69, male, free end, 3x 1.5 mm², 250 V, 16 A, B2ca, length: 3 m, black

System RST® MINI - assembled H05VV-F connection cable IP66/68(3 m; 2 h)/69, 3-pole, 1.5 mm², fire class B2ca, with locking, male RST16i3, free end (ultrasonic welded), according to IEC 61535, mechanical coding light gray/black, color coding black.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Cable type: H05VV-F

Fire class: B2ca

Cable color: black

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: RST16I3K1S 15B 30SW

Part No.: 46.432.30B4.1