podis Cable gland M32x1.5

System podis® CON - Cable gland M32 with clamping range from 10 to 21 mm, color black, material PA, locknut 05.505.0353.1 can be ordered separately

Halogen-free: yes

Silicone-free: yes

Brand: Wieland Electric GmbH

Type: M32x1,5

Part No.: Z5.507.1753.1