
podis Cable gland M32x1.5

System podis® CON - Cable gland M32 with clamping range from 18 to 25 mm, color black, material PA, locknut 05.505.0353.1 can be ordered separately

Halogen-free: yes
Silicone-free: yes

Brand: Wieland Electric GmbH
Type: M32x1,5
Part No.: Z5.507.1653.1 
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