gesis® SPZ Distribution box with integrated RCBO C16 A 4-pole in increased protection class

System gesis® SPZ - Distribution box, pre-wired for pluggable decentralized fuse protection for EVC applications. In the sealable housing made of plastic a 5-pole RST® CLASSIC (Type: RST25i5), concrete grey coded, offers the possibility of a pluggable input. Internally, a 4-pole RCBO type A with tripping characteristic C16 A /30 mA is installed and wired. The output is designed as a pluggable RST® CLASSIC 5-pole (Type: RST25i5), concrete grey coded.

Connection type inputs: RST® CLASSIC (RST25i5)

Colour coding of the input: concrete grey

3-phase inputs: 1

Fuse protection: RCBO C16 A / 0,03 A, Type A

Plug-in system outputs: RST® CLASSIC (RST25i5)

3-phase outputs: 1

Colour coding of the output: concrete grey

Enclosure material: others

Protection class: IP65

Mounting type: wall, floor, ceiling

Length: 143 mm

Width: 210 mm

Height: 100 mm

Make: Wieland Electric GmbH

Type: SPZ 4P-FI-C16-A-R25-1/1

Part No.: 98.554.1200.6