gesis® SPZ Distribution box as kit with RST25i5 input/output in increased protection class

System gesis® SPZ - Distribution box, prepared kit for pluggable decentralized protection of EVC applications. In the sealable housing made of plastic with a width of 4 DU a 5-pole RST® CLASSIC (Type: RST25i5), concrete grey coded, offers the possibility of a pluggable input. Internally, a DIN rail is mounted, which can be used for the installation of protection/switching devices. The output is designed as a pluggable RST® CLASSIC 5-pole (Type: RST25i5), concrete grey coded.

Connection type inputs: RST® CLASSIC (RST25i5)

Colour coding of the input: concrete grey

3-phase inputs: 1

DIN rail integrated: yes

Plug-in system outputs: RST® CLASSIC (RST25i5)

3-phase outputs: 1

Colour coding of the output: concrete grey

Enclosure material: others

Protection class: IP65

Mounting type: wall, floor, ceiling

Length: 143 mm

Width: 210 mm

Height: 100 mm

Make: Wieland Electric GmbH

Type: SPZ EVC Bausatz R25-1/1

Part No.: 98.554.1200.0