
podis® CON Connection module, 5G16 mm², RST25i5, IP65, 400 V, 25 A, black

System podis® CON - Connection module 5G16 RST for pluggable connection with RST25i5; 5-pole; nominal ratings acc. IEC61535 25A; 400 V; degree of protection IP65; piercing contacts; Torx 15; housing black; mounting position any; outline dimensions 217x84x74 mm (LxWxH).

Rated voltage: 400 V
Rated current: 25 A
No. of Poles: 5
Degree of protection: IP65
Halogen-free: yes
Color: black

Brand: Wieland Electric GmbH
Type: FCS 16 5 SI SA RST 25
Part No.: 75.453.0053.1 
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