podis® CON Circuit breaker module, 5G16, M32, IP65, RCBO type A C32 A / 30 mA, black

System podis® CON - Circuit breaker module; combines tap-off and decentralized fuse-protection; internally, a 4-pole RCBO type A with tripping characteristic C32 A /30 mA is installed and wired; for M32 cable gland output, plus optional knock-outs for M20 cable glands and M12; lockable with padlock; color Black

Rated voltage: 400 V

Rated current: 32 A

No. of Poles: 5

Degree of protection: IP65

Cross-Section: 6 mm²

Cable diameter: 10 – 25 mm

Halogen-free: yes

Color: black

Brand: Wieland Electric GmbH

Type: FH RCBO 32 CAM32

Part No.: 75.456.0955.1