gesis® extension cable, female, male, 2x 0.5 mm², shed, 50 V, 3 A, Dca, length: 1 m, black

System gesis® NV - assembled FB-H(St) 2x210.8 extension cable, 3-pole, 0.5 mm², fire class Dca, male BST14i3, female BST14i3, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x210.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: 1 m

Brand: Wieland Electric GmbH

Type: BST14i3 KF BS 50H 10SW

Part No.: 94.435.1060.1