gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Dca, length: 3 m, black

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50Z 30PB02

Part No.: 94.425.3060.9