gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Dca, length: 3 m, green

System gesis® NV - assembled FB-H(St) 2x230.8 extension cable, 2-pole, 0.5 mm², ², fire class Dca, male BST14i2, female BST14i2, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-H(St) 2x230.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50H 30GN01

Part No.: 94.425.3060.7