gesis® connection cable, female, free end, 2x 1.5 mm², 250 V, 6 A, Eca, length: 7 m, pastel blue

System gesis® MINI - assembled H05Z1Z1-F connection cable, 2-pole, 1.5 mm², fire class Eca, for dimming applications, female GST15i2, free end, according IEC 61535, mechanical coding code 2, color coding pastel blue.

Rated voltage: 250 V

Rated current: 6 A

Rated impulse voltage: 4 kV

Type of protection (plugged): IP40

Type of protection (unplugged): IP20

Cable type: H05Z1Z1-F

Fire class: Eca

Cable color: white

Halogen-free: yes

Length: 7 m

Brand: Wieland Electric GmbH

Type: GST15i2 KS B- 15 HW 70PB01

Part No.: 91.222.7063.9