gesis® connection cable, female, free end, 2x 1.5 mm², 50 V, 16 A, Eca, length: 7 m, light blue

System gesis® MINI - assembled H05VV-F connection cable, 2-pole, 1.5 mm², fire class Eca, for low voltage applications, female GST15i2, free end, according IEC 61535, mechanical coding code 2, color coding light blue.

Rated voltage: 50 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection (plugged): IP40

Type of protection (unplugged): IP20

Cable type: H05VV-F

Fire class: Eca

Cable color: white

Halogen-free: no

Length: 7 m

Brand: Wieland Electric GmbH

Type: GST15i2 KS B- 15 W 70BL02

Part No.: 91.222.7003.6