gesis® intermediate coupling, 5-pole, 1 input, 1 output, 250 V, 16 A, white

System gesis® MINI - Intermediate coupling for installation connectors according to IEC 61535, for direct forwarding e.g. between two luminaires, 5-pole, turned contacts, 1 input, 1 output, mechanical coding code 1, color coding white.

Rated voltage: 250/400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection (plugged): IP40

Type of protection (unplugged): IP20

Housing material: Polyamide

Input: 1

Output: 1

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST15i5 Z 1P1 WS

Part No.: 91.050.5953.0