
gesis® strain relief for housing integration, 3-pole, schwarz

System gesis® CLASSIC - Strain relief for housing integration, 3-pole, GST18i3, schwarz.

Material: Polyamide
Halogen-free: yes

Brand: Wieland Electric GmbH 
Type: GST18i3 ZE SW
Part No.: 99.005.8210.0
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