gesis® connector, female, 5-pole, 250/400 V, 20 A, 4 mm², pebble gray

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, female version, 5-pole, turned contacts with screw connection, for terminal cross-sections up to 4 mm², compact housing with strain relief, field assembly, mechanical coding code 3, color coding pebble gray.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Terminal cross-section, solid: 0.5 - 4 mm²

Terminal cross-section, stranded: 0.5 - 4 mm²

Cable diameter: 11.5 - 15.5 mm (H05VV, NYM)

Housing material: Polyamide

Connections per pole: 1

Marking: 3, N, PE, 2, 1

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i5 S B1 Z R2 GR01

Part No.: 92.953.5553.0