gesis® connector, male, 4-pole, 250/400 V, 20 A, white

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, male version, 4-pole, turned contacts with spring clamp connection, compact housing with strain relief, field assembly, mechanical coding code 1, color coding white.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Terminal cross-section, solid: 1.5 - 2.5 mm²

Terminal cross-section, stranded: 1.5 mm² with ferrule

Cable diameter: 6.5 - 9 mm (H05VV, NYM, H05RNF)

Housing material: Polyamide

Connections per pole: 2

Marking: 1, PE, N, 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i4 F S2 Z R1 WS

Part No.: 92.944.1053.0