gesis® connector, male, 3-pole, 250 V, 20 A, brown

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, male version, 3-pole, turned contacts with spring clamp connection, compact housing with strain relief, field assembly, mechanical coding code 4, color coding brown.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Terminal cross-section, solid: 1.5 - 2.5 mm²

Terminal cross-section, stranded: 1.5 mm² with ferrule

Cable diameter: 7.8 - 10.3 mm (H05VV, NYM)

Housing material: Polyamide

Connections per pole: 2

Marking: 1, 2, 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i3 F S2 Z R1 BR05

Part No.: 92.934.0453.0