gesis® connector, male, 3-pole, 250 V, 20 A, light ivory

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, especially for applications requiring fire hazard tests as per the standard EN 60335-1, male version, 3-pole, turned contacts with screw connection, compact housing with strain relief, field assembly, mechanical coding code 1, color coding light ivory.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Terminal cross-section, solid: 0.75 - 2.5 mm²

Terminal cross-section, stranded: 0.75 - 2.5 mm²

Cable diameter: 6.5 - 10.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: L, PE, N

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i3 S S1 Z R1 N

Part No.: 92.932.3057.0