gesis® connector, female, 3-pole, 250 V, 20 A, 4 mm², salmon red

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, female version, 3-pole, turned contacts with screw connection, compact housing with strain relief, field assembly, mechanical coding code 3, color coding salmon red.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Terminal cross-section, solid: 0.75 - 4 mm²

Terminal cross-section, stranded: 0.5 - 4 mm²

Cable diameter: 10.5 - 14.5 mm (H05VV, NYM)

Housing material: Polyamide

Connections per pole: 1

Marking: N, PE, L

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i3 S B1 Z R2 RT03

Part No.: 92.931.5653.0