gesis® connection cable, female, free end, 3x 1.5 mm², 250 V, 16 A, Eca, length: 5 m, may green

System gesis® CLASSIC - assembled H05Z1Z1-F connection cable with protective ground, 3-pole, 1.5 mm², fire class Eca, female GST18i3, free end (ultrasonic welded), according IEC 61535, mechanical coding code 7, color coding may green.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05Z1Z1-F

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 5 m

Brand: Wieland Electric GmbH

Type: GST18i3 K1 B- 15H 50GN07

Part No.: 92.297.5063.7