gesis® extension cable, female, male, 5x 1.5 mm², 250/400 V, 16 A, Eca, length: 1 m, may green

System gesis® CLASSIC - assembled H05Z1Z1-F extension cable with protective ground, 5-pole, 1.5 mm², fire class Eca, male GST18i5, female GST18i5, according IEC 61535, mechanical coding code 4, color coding may green.

Rated voltage: 250/400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05Z1Z1-F

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 1 m

Brand: Wieland Electric GmbH

Type: GST18i5 K1 BS 15H 10GN04

Part No.: 92.257.1060.7