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gesis® extension cable, female, male, 5x 1.5 mm², 250/400 V, 16 A, Eca, length: 1 m, may green

System gesis® CLASSIC - assembled H05Z1Z1-F extension cable with protective ground, 5-pole, 1.5 mm², fire class Eca, male GST18i5, female GST18i5, according IEC 61535, mechanical coding code 4, color coding may green.

Rated voltage: 250/400 V
Rated current: 16 A
Rated impulse voltage: 4 kV
Type of protection: IP40
Cable type: H05Z1Z1-F
Fire class: Eca
Cable color: black
Halogen-free: yes
Length: 1 m

Brand: Wieland Electric GmbH 
Type: GST18i5 K1 BS 15H 10GN04
Part No.: 92.257.1060.7

