gesis® connection cable, male, free end, 5x 0.75 mm², 250/400 V, 6 A, length: 1 m, white

System gesis® CLASSIC - assembled H05Z1Z1-F connection cable with protective ground, 5-pole, 0.75 mm², male GST18i5, free end (ultrasonic welded), according IEC 61535, mechanical coding code 1, color coding white.

Rated voltage: 250/400 V

Rated current: 6 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05Z1Z1-F

Cable color: white

Halogen-free: yes

Length: 1 m

Brand: Wieland Electric GmbH

Type: GST18i5 K1 -S 08H 10WS

Part No.: 92.255.1064.2