gesis® cable, female, SCHUKO male plug, 3x 2.5 mm², 250 V, 16 A, length: 5 m, white

System gesis® CLASSIC - assembled H05VV-F cable with protective ground, 3-pole, 2.5 mm², female GST18i3 with SCHUKO male plug according to DIN 49441, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05VV-F

Cable color: white

Halogen-free: no

Length: 5 m

Brand: Wieland Electric GmbH

Type: GST18i3 K1 BD 25 50WS

Part No.: 92.238.5007.2