gesis® extension cable, female, male, 3x 2.5 mm², 250 V, 20 A, Eca, length: 5 m, brown

System gesis® CLASSIC - assembled H05VV-F extension cable without protective ground, 3-pole, 2.5 mm², fire class Eca, male GST18i3, female GST18i3, according IEC 61535, mechanical coding code 4, color coding brown.

Rated voltage: 250 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05VV-F

Fire class: Eca

Cable color: black

Halogen-free: no

Length: 5 m

Brand: Wieland Electric GmbH

Type: GST18i3 K1 BS 25E 50BR05

Part No.: 92.238.5000.4