gesis® extension cable, female, male, 3x 1.5 mm², 250 V, 16 A, length: 1 m, black

System gesis® CLASSIC - assembled H05V2V2-F extension cable with protective ground, 3-pole, 1.5 mm², male GST18i3, female GST18i3, according IEC 61535, mechanical coding code 1, color coding black.

Rated voltage: 250 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05V2V2-F

Continuous temperature: 90 °C

Cable color: black

Halogen-free: no

Length: 1 m

Brand: Wieland Electric GmbH

Type: GST18i3 K1 BS 15W 10SW

Part No.: 92.232.1010.1