gesis® connection cable, male, free end, 4x 1.5 mm², 250/400 V, 16 A, Eca, length: 3 m, tomato red

System gesis® CLASSIC - assembled H05Z1Z1-F connection cable with protective ground, 4-pole, 1.5 mm², fire class Eca, male GST18i4, free end (ultrasonic welded), according IEC 61535, mechanical coding code 2, color coding tomato red.

Rated voltage: 250/400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05Z1Z1-F

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: GST18i4 K1 -S 15H 30TR01

Part No.: 92.207.3064.0