gesis® extension cable, female, male, 4x 1.5 mm², 250/400 V, 16 A, Eca, length: 1 m, may green

System gesis® CLASSIC - assembled H05VV-F extension cable with protective ground, 4-pole, 1.5 mm², fire class Eca, male GST18i4, female GST18i4, according IEC 61535, mechanical coding code 4, color coding may green.

Rated voltage: 250/400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Cable type: H05VV-F

Fire class: Eca

Cable color: black

Halogen-free: no

Length: 1 m

Brand: Wieland Electric GmbH

Type: GST18i4 K1 BS 15E 10GN04

Part No.: 92.207.1000.7