gesis® Snap-In, male, 5-pole, for panel mounting, 250/400 V, 20 A, may green

System gesis® CLASSIC - Installation connector according to IEC 61535 for permanent connection, male version, 5-pole, turned contacts with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 4, color coding may green.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: IP40

Material thickness: 0.5 - 1.5 mm

Terminal cross-section, solid: 0.5 - 2.5 mm²

Terminal cross-section, stranded: 0.5 - 1.5 mm²

Housing material: Polyamide

Connections per pole: 2

Marking: 1, 2, PE, 3/N, 4

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18i5 F S2 RV GN04

Part No.: 92.052.8058.0