gesis® cover for female, 1-pole, black

System gesis® CLASSIC - Cover for female parts GST18, 3-, 4-, 5- or 6-pole, in a 12-pole pack, black.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: GST18 SW

Part No.: 05.564.5353.0