RST® device connector M25, IP66/68(3 m;2 h)/69, female, 5-pole, 250/400 V, 25 A, concrete gray

System RST® CLASSIC - Device connector according to IEC 61535 for permanent installation, female, 5-pole, turned contacts with screw connection fastening screw from outside, mechanical/color coding concrete gray/black.

Rated voltage: 250/400 V

Rated current: 25 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m;2 h)/69

Thread: M25x1.5

Terminal cross-section: 0.75 - 6.0 mm² (without ferrules)

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: L, N, PE, 1, 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST25i5S6B1 M01V GR03

Part No.: 99.577.0000.7