RST® MICRO extension cable IP66/68(3m;2h)/69, female, male, 3x 0.75 mm², 250/400 V, 6 A, length: 4 m, with contact seal, black

System RST® MICRO - assembled H05RN-F extension cable IP66/68(3m;2h)/69, 3-pole, 0.75 mm², with locking, with contact seal, male RST08i3, female RST08i3, mechanical/color coding black.

Rated voltage: 250/400 V

Rated current: 6 A

Type of protection: IP66/68(3m;2h)/69

Cable type: H05RN-F

Cable color: black

Halogen-free: no

Length: 4 m

Brand: Wieland Electric GmbH

Type: RST08I3 BS 08P 40SW

Part No.: 4L.437.4030.1