RST® distribution block, IP66/68(3 m; 2 h)/69, 2-pole, 1 input, 2 outputs, with mounting option, 250/400 V, 8 A, light blue

System RST® MICRO - distribution block for circular connector IP66/68(3 m; 2 h)/69, 1 input, 2 outputs, 2-pole, with mounting option on distributor mounting plate, mechanical/color coding light blue.

Rated voltage: 250/400 V

Rated current: 8 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Housing material: PA66, V2

Sealing material: NBR

Input: 1

Outputs: 2

Halogen-free: yes

Dimension: 37x50.6x22.8 mm

Brand: Wieland Electric GmbH

Type: RST08I2B 2P1 F VG BL

Part No.: 4L.020.1143.9