RST® device connector M20, IP66/68(3 m; 2 h)/69, male, 5-pole, 400 V, 16 A, black

System RST® MINI - Device connector according to IEC 61535 for permanent installation, male with locking, 5-pole, turned contacts with screw connection, fastening screw from inside, mechanical coding light gray/black, color coding black.

Rated voltage: 400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Wall thicknesses: up to 5 mm

Rated cross-section (fine stranded): 0.25 - 2.5 mm²

Rated cross-section (solid): 0.25 - 2.5 mm²

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: PE, N, 3, 2, 1

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16I5S S1 M00 SW

Part No.: 46.052.5053.1