RST® compact distribution, IP66/68(3 m; 2 h)/69, 5-pole, 1 input, 3 outputs, 400 V, 16 A, light gray

System RST® MINI - RST compact distribution for circular connector IP66/68(3 m; 2 h)/69 according to IEC 61535, 1 input, 3 outputs, 5-pole, ready wired, halogen-free wires with 1.5 mm², mechanical coding light gray/black, color coding light gray.

Rated voltage: 400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: IP66/68(3 m; 2 h)/69

Housing material: PA66, V2

Sealing material: NBR

Input: 1

Outputs: 3

Halogen-free: yes

Dimension: 104x162x57.2 mm

Brand: Wieland Electric GmbH

Type: RST16I5B 3P1 F VG GL

Part No.: 46.050.0153.0