RST® device connector M16, IP66/68(3 m; 2 h)/69, male, 2-pole, 400 V, 16 A, light blue

System RST® MINI - Device connector according to IEC 61535 for permanent installation, male with locking, 2-pole, turned contacts with screw connection, fastening screw from inside, mechanical/color coding light blue.

Rated voltage: 400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Wall thicknesses: up to 8 mm

Rated cross-section (fine stranded): 0.25 - 1.5 mm²

Rated cross-section (solid): 0.25 - 2.5 mm²

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: 2, 1

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16I2S S1 M00 BL

Part No.: 46.032.5054.9