RST® circular connector, IP66/68(3 m; 2 h)/69, male, 3-pole, 400 V, 16 A, black

System RST® MINI - Circular connector according to IEC 61535 for permanent installation with type of protection IP66/68(3 m; 2 h)/69, male with locking, 3-pole, turned contacts with screw connection, very compact housing with strain relief, field assembly, mechanical coding light gray/black, color coding black.

Rated voltage: 400 V

Rated current: 16 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Rated cross-section (fine stranded): 0.25 - 1.5 mm²

Rated cross-section (solid): 0.25 - 2.5 mm²

Cable diameter: 5.0 - 9.5 mm

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: PE, N, L

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16I3S S1 ZR1 SW

Part No.: 46.032.4553.1