RST® Cover piece IP66/68(3 m; 2 h)/69 for male, 4-5-pole, captive against loss, light gray

System RST® MINI - Cover piece IP66/68(3 m; 2 h)/69 for male parts RST16, captive against loss, light gray.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16 B VS GL

Part No.: 06.563.9353.0