
RST® Cover piece IP66/68(3 m; 2 h)/69 for female, 4-5-pole, light gray

System RST® MINI - Cover piece IP66/68(3 m; 2 h)/69 for female parts RST16, light gray.

Housing material: PA66, V2
Sealing material: NBR
Halogen-free: yes

Brand: Wieland Electric GmbH 
Type: RST16 S VS GL
Part No.: 06.563.9053.0
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