RST® Cover piece IP66/68(3 m; 2 h)/69 for male, 2-3-pole, captive against loss, black

System RST® MINI - Cover piece IP66/68(3 m; 2 h)/69 for male parts RST16 2-/3-pole, captive against loss, black.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16 B VS SW

Part No.: 06.563.8953.1