
RST® Cover piece IP66/68(3 m; 2 h)/69 for male, 2-3-pole, light gray

System RST® MINI - Cover piece IP66/68(3 m; 2 h)/69 for male parts RST16 2-/3-pole, light gray.

Housing material: PA66, V2
Sealing material: NBR
Halogen-free: yes

Brand: Wieland Electric GmbH 
Type: RST16 B VS GL
Part No.: 06.563.8853.0
[bookmark: _GoBack]

