RST® Cover piece IP66/68(3 m; 2 h)/69 for female, 2-3-pole, black

System RST® MINI - Cover piece IP66/68(3 m; 2 h)/69 for female parts RST16 2-/3-pole, black.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST16 S VS SW

Part No.: 06.563.8653.1