RST® mounting plate, distribution blocks, light gray

System RST® MINI - Mounting plate for distribution blocks, light gray.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST 16 BP GR

Part No.: 06.562.5853.0