RST® Cover piece IP66/68(3 m; 2 h)/69 for female, 4-5-pole, black

System RST® CLASSIC - Cover piece IP66/68(3 m; 2 h)/69 for female parts RST20i4 and RST20i5, with locking, black.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I5 VS SW

Part No.: Z5.565.9853.1