RST® Cover piece IP66/68(3 m; 2 h)/69 for female, 2-3-pole, light grey

System RST® CLASSIC - Cover piece IP66/68(3 m; 2 h)/69 for female parts RST20i2 and RST20i3, with locking, light grey.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I3 VS GL

Part No.: Z5.564.4553.0