RST® device connector M25, IP66/68(3 m; 2 h)/69, female, 7-pole, 250 V, with contact seal, black

System RST® CLASSIC - Device connector according to IEC 61535 for permanent installation, female, 7-pole, turned contacts with screw connection, with contact seal, fastening screw from inside, mechanical coding light grey/black, color coding black.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Thread: M25x1,5

Terminal cross section: 0.2 - 2.5 mm²

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: 1, 2, 3, 4/N, 5, 6, PE

Halogen free: yes

Brand: Wieland Electric GmbH

Type: RST20I7S B1 M02A SW

Part No.: 9L.071.6253.1