RST® device connector M20, IP66/68(3 m; 2 h)/69, female, 6-pole, 250 V, with contact seal, turquoise

System RST® CLASSIC - Device connector according to IEC 61535 for permanent installation, female, 6-pole, turned contacts with screw connection, with contact seal, fastening screw from inside, mechanical/color coding turquoise.

Rated voltage: 250/400 V

Rated current: 20 A

Rated impulse voltage: 4 kV

Type of protection: up to IP66/68(3 m; 2 h)/69

Thread: M20x1,5

Terminal cross section: 0.2 - 2.5 mm²

Housing material: PA66, V2

Sealing material: NBR

Connections per pole: 1

Marking: L, N, PE, 1, 2, Ls

Halogen free: yes

Brand: Wieland Electric GmbH

Type: RST20I6S B1 M00A TB04

Part No.: 9L.061.6053.6