RST® Cover piece IP66/68(3 m; 2 h)/69 for male, 4-5-pole, captive against loss, black

System RST® CLASSIC - Cover piece IP66/68(3 m; 2 h)/69 for male parts RST20i4 and RST20i5, captive against loss, black.

Housing material: PA66, V2

Sealing material: NBR

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: RST20I5 VS SW

Part No.: 99.532.0000.7